## Slide 1: Architecture & Performance
BACK-END Service
CMS
2025.09.02 | Ver. 0.1

## Slide 2: 개정이력
버전 | 개정일 | 개정 내용 | 작성자
0.1 | 2025.09.02 | Backend Service Architecture & Performance 초안 | Kai

## Slide 3
System Overview
Ingestor
Messaging Queue
Transformer
Client
OLTP -Operational
OLAP -Analytical
Interface
M50
M40
M32
D700(100)
V20
Command Flow (Client → Processing → Device)
Data Flow (Device → Processing → Client)
API Interface (서비스 연동 및 데이터 접근 경로)
Medical Devices
External HL7 Server

## Slide 4
Data Flow
MEDIANA CMS2 UI
Device Interface
Parsing & Normalization(Binary → Avro)
Command Interface
INGESTOR
Stomp Streaming
Analytics
Data Classification
TRANSFORMER
Restful API
Command API
Analytics API
API
ActiveMQ Artemis
MEDIANA DEVICES
OLTP Operational Database (PostgreSQL)
OLAP Analytical Database (ClickHouse)
Command
Binary Data / TCP
STOMP/WebSocket
Rest/Analytics/Command
Analytics
/Command
External HL7 Server

## Slide 5
Data Flow
Device Interface
Parsing
Normalization
INGESTOR
Command Gateway
TRANSFORMER
TCP/IP 통신, 데이터 수신
Binary → Field 추출
Avro 변환
상위 서비스 명령 수신 → 장비
Serial Number Mgmt
장비 식별 매핑
ActiveMQ Artemis
MEDIANA Devices

## Slide 6
Data Flow
INGESTOR
Vitals / Alarms / Waveforms / etc
ClickHouse(OLAP)
Time-based vital trends
STOMP / WebSocket → UI
Stomp Streaming
Data Storage
Data Classification
TRANSFORMER
Analytics
External HL7 Server
MEDIANA CMS2 UI
ActiveMQ Artemis

## Slide 7
Data Flow
1. Device → Ingestor
TCP 세션 수립 및 바이너리 스트리밍
2. Ingestor → MQ
패킷 파싱 및 Avro Encode
3. MQ → Transformer
데이터 분류 및 Avro Decode
4. Transformer → Client
실시간 제공( STOMP)
5. Transformer → OLAP
분석용 데이터 저장

## Slide 8
Analytics: ClickHouse Partition/Index Strategy
키 컬럼 & 테이블별 컬럼
공통적으로 serial_no + timestamp를 키 컬럼으로 설계하고, 나머지 컬럼은 테이블의 도메인에 맞춰 정의 됩니다.
키 컬럼
serial_no + timestamp
전체 테이블
Partition /Index
ClickHouse는 데이터를 일자 단위 Partition으로 분리하고,
(serial_no, timestamp) 기준으로 정렬하여 저장합니다.
Partition : timestamp -> TTL 관리 및 시간 기반
ORDER BY(serial_no, timestamp) -> 장치별 시계열 조회 최적화
Index : MinMax Index & Skip Index -> 조건 기반 필터링 성능 향상